## Slide 1: Asset Management
May 29, 2025
Owen Philip
Senior Manager, Capital Planning
BC Housing

## Slide 2
Assessments
Data Management
Projecting Planning & Prioritization
Asset Planner Demonstration
Q & A
Agenda

## Slide 3
Assessment Data
Capital Plan
Why assess?
Provides the owner with data used to plan and prioritize capital projects

## Slide 4
A building condition assessment (BCA) is an educated opinion of the current condition of the elements that comprise the property.
It will include opinions about years and costs for actions (repairs or replacements) that might occur, to keep the building in a target condition.
A BCA is meant to give the owner a general idea of condition of the building. It is a non-invasive, visual inspection.
What is a Building Condition Assessment?
Repair Needs
Building Lifespan
Safety

## Slide 5
are the Current Replacement Values (CRV) for the building components or elements.
Replacement costs
is the cost of a project that is being planned for a particular component
Action Costs
is the year in which a future project is planned
Action Year

## Slide 6
Replace the roof
Paint the siding
Repair major foundation crack
Replace the windows
Replace the furnace
Replace the water heater
Replace the carpet
Paint the interior walls and etc.
Typical “Actions”

## Slide 7
Investigation of a specific building system
Targeted Assessments
Can be invasive (exploratory openings, etc…)
Provide recommendations for remediation
Provide more accurate project budgets
Typically conducted and signed off by a professional (Engineer, Architect etc.)

## Slide 8
A capital plan is simply a spreadsheet that contains information about future liabilities, projects and funding strategies for properties that we are responsible for over a thirty year window.
What is a Capital Plan?

## Slide 9
*All of the above items are subject to change
Commonalities between Capital Plans
Inventory of components that make up the building.
List of repairs needed over 30 years
Cost of repairs
Year in which repairs will occur
1
2
3
4
Repeat interval for the repairs
Funding sources for repairs
(if known)
Opening balance and annual contribution; closing balance
.
Shortfall or surplus
5
6
7
8

## Slide 10
Capital Plan Example

## Slide 11: Data Management

## Slide 12
What do I do with all of this information?

## Slide 13
What makes good data??
Useable
Accessible
Familiar
Legible (naming conventions)
Fresh
Project/Maintenance Tracking
Reporting

## Slide 14
Facilities Condition Index : Calculation
$ Replace windows
$ Replace roof shingles
$ Replace plumbing
$ Replace siding
$ Painting
Etc….
$ Whole building Current Replacement Value
FCI =

## Slide 15
The quality rating from Ameresco for FCI is as follows:
Facilities Condition Index

## Slide 16
This FCI graphs shows this particular building reaching a critical FCI by 2031 if no An investment in 2026, show a dip in FCI improved. This building will now reach a critical FCI in 2034 if no further spending happens after 2045.
Improving Facility Condition Index

## Slide 17: Project Planning & Prioritization

## Slide 18
SAFE. WARM. DRY.

## Slide 19
Prioritization Factors
Priority
Level
Life Safety Risk
1
Critical Infrastructure
2
Service Life Remaining
3
Service Life Impact
4
Business Case
5
Length of Prior Deferral
Overall Building
Condition
External Influence
6
7
8

## Slide 20
Consulting
(prime and other)
Construction
(break down by discipline)
Contingency
(percentage of total budget or quantified risk)
Owner costs
(insurance, hazmat survey, performance testing)
Project Budgets
Capital projects require a budget. Ideal to be as accurate as possible. Some key factors to keep in mind when creating a budget

## Slide 21
Resources
Contractors
  Building/Property Managers
  Architects
  Engineers
  Building Science Technicians
  Site Staff

## Slide 22: Final Thoughts